## Slide 1
Outline
Introduction
Problem Statement
Objectives
Applications
Reference

## Slide 2: INTRODUCTION
This project aims to create an affordable, modular prosthetic arm that is specifically tailored to bridge the gaps of availability, affordability, and maintenance in India.
Using affordable materials and modular parts, the design will also enable simpler replacement and repair of parts without causing undue costs to users or leading to idle periods for them.
Notes: Phase Noise: Refers to the random fluctuations in the phase of the signal, primarily generated by oscillators, which can lead to signal distortion, especially in high-frequency communication systems.
Power Consumption: In high-frequency systems, components like analog-to-digital converters (ADCs) and amplifiers often consume significant power. Optimizing power consumption is crucial for efficient operation, particularly in portable and large-scale systems.
SFDR (Spurious-Free Dynamic Range): SFDR defines the range over which the antenna system can handle signals without distortion from spurious signals. Degraded SFDR reduces the ability to distinguish between desired and unwanted signals.
Insertion Loss: This is the loss of signal power due to the transmission medium or circuit elements, such as transmission lines or connectors, affecting overall signal strength.
High-Speed Communication Systems: The frequency range for these systems typically includes millimeter-wave and terahertz frequencies (30 GHz to 300 GHz). Such frequencies require careful handling of noise, power, and signal integrity.
Simulink and MATLAB: These are simulation tools that allow for detailed modeling of communication systems, including antennas. Simulink offers a graphical interface for system modeling, while MATLAB provides numerical computing capabilities to analyze signal processing and system performance.
Project Goal: The aim is to simulate and improve the performance of high-frequency antennas by addressing challenges like phase noise, power consumption, SFDR degradation, and insertion loss, providing insights into optimizing antenna systems for next-generation communication networks.

## Slide 3: Problem Statement
The project aims to develop affordable, modular prosthetic arm with cost-effective materials and integrated sensors for easy repairs, enhanced user experience, and improved mobility.
Notes: Phase Noise in Local Oscillators:
Phase noise refers to the rapid, random fluctuations in the phase of a signal generated by oscillators, commonly used in communication systems.
In high-frequency antenna systems, phase noise can distort the transmitted or received signal, particularly in systems using high-order modulation schemes (like QAM).
Impact: Degraded signal quality, increased bit error rate (BER), and reduced overall system performance.
High Power Consumption due to Inefficient ADCs:
Analog-to-Digital Converters (ADCs) are essential for converting analog antenna signals into digital formats for processing.
High-speed ADCs typically consume a large amount of power, especially in high-frequency systems where the sampling rate needs to be extremely fast.
Impact: Increased energy consumption, making the system less efficient and potentially limiting its application in power-sensitive environments like mobile or satellite systems.
Low Spurious-Free Dynamic Range (SFDR):
SFDR measures the range over which the system can process a signal without the interference of spurious tones or signals.
A low SFDR means the system has a reduced ability to distinguish between the desired signal and unwanted harmonics or noise, leading to distortion.
Impact: Signal quality degradation, increased error rates, and decreased communication efficiency.
Insertion Loss in Transmission Lines:
Insertion loss refers to the reduction in signal strength as it passes through transmission lines or other components like connectors and switches.
It is measured as the difference between the input and output signal strength.
Impact: Decreased signal power reaching the receiver, necessitating amplification and leading to potential signal distortion or loss of data.
Noise Figure and Signal-to-Noise Ratio (SNR) Issues:
The noise figure is a measure of how much noise a system introduces into the signal.
A high noise figure degrades the Signal-to-Noise Ratio (SNR), making it harder for the receiver to distinguish between the signal and background noise.
Impact: Reduced sensitivity of the receiver, leading to lower data rates, increased error rates, and degraded performance in weak signal conditions.

## Slide 4
Objectives
To develop a cost-effective, modular prosthetic arm for easy repairs and maintenance.
To integrate sensors to improve grip strength detection and joint movement control for better functionality.
To design a prototype of a prosthetic arm.
Notes: Simulating and Reducing Phase Noise in Local Oscillators Using Phase-Locked Loops (PLLs):
Phase-Locked Loop (PLL): A feedback control system that locks the phase of an oscillator to the phase of a reference signal, reducing phase noise.
Simulation Focus: Model the behavior of PLLs in Simulink to evaluate how they reduce phase noise in high-frequency oscillators. Key parameters include loop bandwidth, phase detector performance, and noise reduction efficiency.
Goal: Achieve a stable oscillator output with minimal phase fluctuations, improving signal clarity and reducing error rates in communication systems.
Power Analysis of ADC-Less Analog Processing Designs and Assessing Power Savings:
ADC-Less Design: Refers to avoiding power-hungry analog-to-digital converters by employing analog processing techniques (like direct demodulation).
Simulation Focus: Use Simulink to model and compare the power consumption of traditional ADC-based systems with ADC-less designs.
Goal: Demonstrate significant power savings in high-frequency antenna systems by bypassing ADCs, making the system more energy-efficient.
Improving SFDR by Adopting Direct Demodulation Techniques in Simulink:
Direct Demodulation: A technique that eliminates the need for ADCs by demodulating signals directly in the analog domain, improving the system's spurious-free dynamic range (SFDR).
Simulation Focus: Implement direct demodulation in Simulink, test various modulation schemes (e.g., BPSK, QAM), and evaluate the SFDR performance.
Goal: Improve the system’s ability to handle large dynamic ranges without introducing spurious tones, enhancing signal quality.
Modeling and Minimizing Insertion Loss in Antenna Transmission Lines:
Insertion Loss: Represents signal power loss as it travels through transmission lines due to resistance, impedance mismatch, or other factors.
Simulation Focus: Model transmission lines in Simulink and optimize their properties (length, material, impedance) to minimize insertion loss.
Goal: Ensure that more signal power reaches the receiver, improving overall system efficiency and reducing the need for additional amplification.
Analyzing the Noise Figure and its Effect on Overall System Performance:
Noise Figure: A metric that quantifies how much noise a component or system adds to the signal.
Simulation Focus: Analyze how the noise figure impacts the signal-to-noise ratio (SNR) in the system, particularly in the receiver chain, using Simulink.
Goal: Optimize the noise figure to enhance the SNR, resulting in improved system sensitivity and performance, especially in weak signal environments.

## Slide 5
Reference 1:
Problem: Myoelectric prosthetic hands have high rejection rates due to limited functionality and anthropomorphic design constraints.
Solution: Develop and evaluate modular, non-humanoid terminal devices tailored for specific tasks.
Methodology: A control group study with participants without ULD compared non-humanoid devices against a humanoid prosthesis, measuring task performance, compensatory motion, and perceived task load. Case studies with two participants with ULD were also conducted.
Results: Non-humanoid devices significantly improved task performance, reduced compensatory movement, and decreased task load compared to the humanoid prosthesis.
Conclusion: Task-specific, non-humanoid terminal devices offer a promising approach to enhance prosthetic hand functionality and user satisfaction. They may also improve quality of life by facilitating social interactions.
Beyond Humanoid Prosthetic Hands: Modular Terminal Devices That Improve User Performance
Notes: Received 24 August 2024; revised 1 December 2024 and 31 December 2024; accepted 8 January 2025. Date of publication 13 January 2025; Date of current version 23 January 2025.
INTRODUCTION:
Millions globally suffer from upper limb difference (ULD), impacting their capabilities. Myoelectric prostheses offer a solution by utilizing electromyography to control artificial hands. However, despite advancements, multi-articulating myoelectric hands show minimal benefit over simpler prostheses, leading to user dissatisfaction due to limited functionality and dexterity. The anthropomorphic design, aiming to replicate human hands, is constrained by mechanical and control limitations. Functional, non-humanoid designs are rare but could offer advantages, especially with modularity for task-specific applications.
USES:
It introduces four open-source modular non-humanoid devices for flicking, screwdriving, picking/placing flat objects, and cutting paper. These devices replace fingers on the OLYMPIC hand, a modular prosthesis. The devices are designed to perform tasks that are difficult for conventional humanoid prosthetic hands. Each task requires complex coordination at the joint level of a humanoid hand in order to produce a relatively simple task-space output. The devices are designed to perform actions that have meaningful social and functional uses in many areas of daily life, but are difficult-to-impossible with conventional prostheses: flicking, screwdriving, picking and placing small flat objects, and using scissors.
ADVANTAGES:
Non-humanoid designs improve task performance, reduce user compensatory movement, and decrease task load compared to humanoid prostheses.
Case studies validate these benefits, emphasizing the importance of monitoring user task load for positive rehabilitation outcomes.
Humanoid prostheses were outperformed by non-humanoid devices in all tasks.
Non-humanoid terminal devices reduced compensatory motion, allowing participants to complete timed tasks and precision tasks with higher accuracy.
These reductions in mental, physical, and frustration demands.
DISADVANTAGES:
Functionality for individual tasks limited by device specificity.
Need for end effector change for daily functionality.
Desire for anthropomorphic appearance for social acceptance.
Key Points:
Problem: Myoelectric prosthetic hands have high rejection rates due to limited functionality and anthropomorphic design constraints.
Solution: Develop and evaluate modular, non-humanoid terminal devices tailored for specific tasks.
Devices: Four devices were created for flicking, screwdriving, picking/placing flat objects, and cutting paper, designed as replacements for fingers on the OLYMPIC hand.
Methodology: A control group study with participants without ULD compared non-humanoid devices against a humanoid prosthesis, measuring task performance, compensatory motion, and perceived task load. Case studies with two participants with ULD were also conducted.
Results: Non-humanoid devices significantly improved task performance, reduced compensatory movement, and decreased task load compared to the humanoid prosthesis.
Conclusion: Task-specific, non-humanoid terminal devices offer a promising approach to enhance prosthetic hand functionality and user satisfaction. They may also improve quality of life by facilitating social interactions.
Future Work: Further research is needed to optimize the mechanical implementation of these prostheses, explore haptic feedback, and investigate the psychological embodiment of non-humanoid prostheses.

## Slide 6
Reference 2:
Problem: Conventional socket-based prosthetic attachments often cause discomfort, skin damage, and high abandonment rates. While osseointegration offers skeletal fixation, it poses significant infection risks due to skin penetration.
Solution: Develop a prosthetic suspension system using electromagnetic attraction between a subcutaneous ferromagnetic implant in the residual bone and an external electromagnet in the socket, enabling secure, non-invasive load transfer.
Methodology :The approach involved biomechanical analysis of gait forces, cadaveric dissections for implant design, electromagnetic modeling to optimize performance, and benchtop testing to assess power use and heat generation.
Results :Simulations closely matched physical tests (4.2% error). Average power use was 33W during walking. Simulated skin temperature increased by 2.3°C after 200 steps and 15.4°C after 1000 steps, indicating a need for thermal control.
Conclusion :This electromagnetic system shows promise as a comfortable, sealed-skin alternative to sockets and osseointegration. It may improve limb health, reduce complications, and support personalized prosthetic designs with further refinement.
Prosthetic Limb Attachment via Electromagnetic Attraction Through a Closed Skin Envelope
Notes: Manuscript received 16 June 2023; revised 11 September 2023 and 14 November 2023; accepted 7 December 2023. Date of publication 13 December 2023; date of current version 23 April 2024
INTRODUCTION:
The pursuit of advanced robotic prosthetic limbs faces a significant challenge: the limitations of current socket-based attachment methods. These methods often lead to discomfort, tissue damage, and pain, resulting in patient dissatisfaction and high abandonment rates, disproportionately affecting underprivileged communities. Addressing the drawbacks of soft-tissue suspension, such as pistoning and skin irritation, and the risks associated with percutaneous osseointegration (OI), including infection, a novel socket suspension paradigm is introduced. This system utilizes electromagnetic attraction between a subcutaneous ferromagnetic implant in the residual bone and an electromagnet in the socket. This approach aims to transfer suspension loads directly from the prosthesis to the bone while maintaining a sealed skin envelope.
USES:
The electromagnetic attachment system is designed for prosthetic limbs and offers a potential solution to challenges associated with traditional socket-based attachments and percutaneous osseointegration. By employing a subcutaneous ferromagnetic implant and an external electromagnet, the system aims to improve comfort, reduce tissue damage, and minimize infection risks for individuals with amputation. This system has utility in transfemoral amputations and could be adapted for various amputation levels.
ADVANTAGES:
The primary advantage of this electromagnetic attachment system lies in its potential to mitigate the drawbacks of existing prosthetic attachment methods. Unlike socket-based systems, it transfers suspension loads directly to the bone, reducing pistoning and associated tissue breakdown. Compared to osseointegration, it maintains a sealed skin envelope, minimizing infection risk. Additional benefits include:
Improved Comfort: By reducing pressure on soft tissues.
Enhanced Limb Health: Prevents skin ulcers and irritation.
Customizable Attachment: Attractive force modulation via electromagnet control.
Reduced Healthcare Costs: By minimizing visits to prosthetists and complications.
Potential for wider applicability: Circumvents limitations of OI in dyscalculic amputations.
DISADVANTAGES:
Despite its potential advantages, the electromagnetic attachment system also presents certain disadvantages and challenges:
Power Requirements: Suspension during gait requires electrical power, necessitating a power source and potentially leading to heat generation.
Heating Concerns: Prolonged use may result in increased skin temperature, requiring thermal management strategies.
Electromagnet Mass: The added mass of the electromagnet in the socket could impact user comfort and mobility.
MRI Incompatibility: The ferromagnetic implant renders the system incompatible with magnetic resonance imaging (MRI).
Dependence on technology: Reliance on a functioning electromagnet for secure attachment.
OVERALL SUMMARY
The study offers a design framework for an electromagnetic prosthetic attachment system that employs an external electromagnet for direct skeletal connection and a bone-anchored ferromagnetic implant. Tested using electromagnetic simulations, cadaveric dissections, and biomechanical analysis, the device demonstrates the viability of supporting a prosthesis while walking with controllable power needs and little heating. The method enhances the functionality, comfort, and health of prosthetic limbs and presents a viable substitute for conventional socket-based and Osseo-integrated options.

## Slide 7
Reference 3:
Problem :Advanced prosthetic hands need intuitive control, but real-time, energy-efficient systems to localize implanted magnets for myokinetic control haven't been fully developed.
Solution :The authors propose a Transcutaneous Magnet Localizer (TML), a modular system that uses multi-sensor acquisition and real-time processing to accurately localize implanted magnets for prosthetic control.
Methodology :The TML system includes 8 Acquisition Units (AUs) with 20 sensors and a Computation Unit (CU) using an ARM M7 processor. Tests were conducted on a forearm mockup to assess localization accuracy, power consumption, and latency.
Results :The system localized up to 8 magnets with <1 mm error, 0.5 mm precision, and <60 ms latency. Power consumption was 0.6-1.2 W, suitable for prosthetic use.
Conclusion :The TML offers real-time, accurate localization for myokinetic prosthetic hands, enabling natural control and supporting broader clinical adoption of magnet-based control interfaces.
Transcutaneous Magnet Localizer for a Self- Contained Myokinetic Prosthetic Hand

## Slide 8
Reference 4:
Neural Network-Based Lower Limb Prostheses Control Using Super Twisting Sliding Mode Control
Problem :Controlling lower limb prostheses is challenging due to complex gait, noisy sEMG signals, and disturbances. Traditional methods lack robustness and precision.
Solution :A hybrid approach using Feedforward Neural Networks (FFNN) for sEMG interpretation and Super Twisting Sliding Mode Control (ST-SMC) for robust joint control.
Methodology :sEMG data was processed and used to train FFNNs to predict joint angles. ST-SMC tracked these angles and managed disturbances. Simulations were done using MATLAB/Simulink and compared with conventional SMC.
Results :FFNN accurately predicted joint angles, and ST-SMC provided smoother, more precise control with less chattering. The system showed strong robustness in simulations.
Conclusion :FFNN + ST-SMC provides reliable, adaptive control for prosthetic legs, improving accuracy and stability with potential for real-time clinical use.

## Slide 9
Reference 5:
Problem: Traditional prosthetic arms are expensive, heavy, noisy, and lack real-time responsiveness due to servo motors and limited material efficiency.
Solution: Develop a low-cost, lightweight prosthetic arm with soft elastomer fingers, controlled by EEG signals via CNN and SVM algorithms, eliminating the need for invasive surgery.
Methodology: Constructed with PLA and Dragon Skin elastomer, powered by pneumatic actuators. EEG signals from an OpenBCI headband were processed on a Raspberry Pi 4 and classified using CNN and SVM. ABAQUS was used for FEA simulations; gesture recognition accuracy and performance metrics were experimentally validated.
Results: CNN achieved 48% accuracy (vs. 28% for SVM) with a 17 ms inference time. The arm bent 90° at 3.3 Pa pressure, weighed 400g, and cost $700—outperforming traditional models in weight and responsiveness.
Conclusion: The design offers an affordable, lightweight, and responsive prosthetic solution, ideal for children and users with peripheral nerve damage, with future potential for enhanced finger-level control.
A Low-Cost Lightweight Prosthetic Arm with Soft Gripping Fingers Controlled Using CNN

## Slide 10
Reference 6:
Finch: Prosthetic Arm With Three Opposing Fingers Controlled by a Muscle Bulge
Problem: Traditional myoelectric prosthetic hands are heavy, complex, expensive, and difficult to fit or calibrate. Body-powered hooks are functional but unattractive and uncomfortable.
Solution: Design a lightweight, low-cost prosthetic arm (“Finch”) with three opposing fingers controlled by a muscle bulge sensor, offering easy wear ability and practical daily use functionality
Methodology: The Finch employs a single linear actuator to drive three fingers based on muscle bulge data from a photoelectric sensor embedded in a wearable fabric supporter socket. Functional and user tests (including SHAP) were performed with five forearm amputees.
Results: The prosthetic weighs 330g and costs ~$430. Response time was 58 ms with battery life of 24 hours. Grasping forces ranged from 2.9 N to 12.8 N across object types. In SHAP testing, users completed 12 abstract tasks and 13 ADL tasks (except jug pouring), with IoF scores of 42–47.
Conclusion: Finch offers an affordable, comfortable, and responsive alternative for users seeking simplicity and functionality over high dexterity.

## Slide 11
Reference 7:
Development and Testing of a Wearable Vibrotactile Haptic Feedback System for Proprioceptive Rehabilitation
Problem: Individuals with upper-limb prosthetics often lack proprioception and force feedback, which impairs their ability to control prosthetic devices effectively, especially under distraction or without a phantom hand map.
Solution: Vi-HaB is a non-invasive, wearable vibrotactile system that provides individual finger feedback using a mapped array of vibrotactile motors.
Methodology: Five force-sensitive resistors on a dummy hand detect forces, processed by an Arduino Nano, and mapped to an armband’s vibrotactile motors. Tested on 14 disabled individuals through tasks involving finger and force recognition, under distracted and distraction-free settings.
Results: Achieved 82.04% average accuracy across tasks. Performance remained stable or improved under distractions, showing system reliability in real-world conditions.
Conclusion: Vi-HaB offers a cost-effective, adaptable, and non-invasive proprioceptive rehabilitation tool with potential applications in prosthetics, VR, and teleoperation.

## Slide 12
Reference 8:
ProACT: An Augmented Reality Testbed for Intelligent Prosthetic Arms
Problem: High-level amputees face difficulty using prosthetic arms due to limited input from EMG signals. Existing systems are costly and lack tools for testing intelligent, whole-arm control.
Solution: ProACT is an AR-based, immersive testbed integrating ROS, Gazebo, Unity, and Microsoft HoloLens 2 to enable intelligent control testing for prosthetic limbs.
Methodology: Utilizes an EMG armband and eye-tracking for input, testing four control strategies—direct joint, end-effector, gaze-assisted, and context-assisted—on a Modular Prosthetic Limb. Evaluated via user studies using a Box-and-Blocks test with non-amputees.
Results: Gaze-assisted methods outperformed traditional ones in speed, success, and user satisfaction. Context-assisted control further improved intent prediction.
Conclusion: ProACT is a robust, open-source simulation tool for developing and evaluating intelligent prosthetic control strategies, supporting user-centered design improvements.

## Slide 13: APPLICATIONS
Daily Life Assistance: Enabling users to perform everyday tasks such as eating, writing, and personal care, improving their quality of life.
Affordable Prosthetic Solutions: Providing an affordable, locally-made prosthetic arm, making it affordable for individuals in low-income or underserved areas.
Ease of Repair and Maintenance: The modular structure enables easy and rapid repair, reducing downtime and enhancing the user experience.
Disaster Relief and Emergency Assistance: Offering low-cost prosthetics to victims of accidents or natural disasters, enabling them to regain their independence.

## Slide 14: References
D. Chappell, B. Mulvey, S. Perera, F. Bello, P. Kormushev and N. Rojas, "Beyond Humanoid Prosthetic Hands: Modular Terminal Devices That Improve User Performance," in IEEE Transactions on Neural Systems and Rehabilitation Engineering, vol. 33, pp. 466-475, 2025, doi: 10.1109/TNSRE.2025.3528725.
W. Flanagan et al., "Prosthetic Limb Attachment via Electromagnetic Attraction Through a Closed Skin Envelope," in IEEE Transactions on Biomedical Engineering, vol. 71, no. 5, pp. 1552-1564, May 2024, doi: 10.1109/TBME.2023.3342652.
V. Ianniciello, M. Gherardini and C. Cipriani, "Transcutaneous Magnet Localizer for a Self-Contained Myokinetic Prosthetic Hand," in IEEE Transactions on Biomedical Engineering, vol. 71, no. 3, pp. 1068- 1075, March 2024, doi: 10.1109/TBME.2023.3325910.

## Slide 15: References
A. T. Demora and C. M. Abdissa, "Neural Network-Based Lower Limb Prostheses Control Using Super Twisting Sliding Mode Control," in IEEE Access, vol. 13, pp. 24929-24953, 2025, doi: 10.1109/ACCESS.2025.3538689.
A. Sahbel, M. Elaydi, A. Nasif, N. Sobhy, A. Magdy, and A. Abbas, “A Low-Cost Lightweight Prosthetic Arm with Soft Gripping Fingers Controlled Using CNN,” in 2024 14th International Conference on Electrical Engineering (ICEENG), 145-147, 2024, doi: 10.1109/ICEENG58856.2024.105664.
M. Yoshikawa, K. Ogawa, S. Yamanaka, and N. Kawashima, “Finch: Prosthetic Arm With Three Opposing Fingers Controlled by a Muscle Bulge,” in IEEE Transactions on Neural Systems and Rehabilitation Engineering,vol.31,377/386,2023,doi:10.1109/TNSRE.2022.3223531.

## Slide 16: References
R. Yunus et al., "Development and Testing of a Wearable Vibrotactile Haptic Feedback System for Proprioceptive Rehabilitation," in IEEE Access, vol. 8, pp. 35172-35184, 2020, doi: 10.1109/ACCESS.2020.2975149.
S. Guptasarma and M. D. Kennedy, "ProACT: An Augmented Reality Testbed for Intelligent Prosthetic Arms," in IEEE Transactions on Neural Systems and Rehabilitation Engineering, vol. 33, pp. 354-365, 2025, doi: 10.1109/TNSRE.2024.3521923.
Alvarado, J. A. C., & Balderas, M. F. B. "Transradial Prosthesis: Development of a Bionic Arm Using an EEG Sensor.“ 2023 International Conference on Electronics, Communications and Computers(CONIELECOMP),1.6,2023.doi:10.1109/CONIELECOMP 57887.2023.10582117.